Selected Typical Steps in the Accreditation Process

| No. | Stage in the process | Global Activity | Individual activities | Details | Comment |
| --- | --- | --- | --- | --- | --- |
| 1 | Internal Review and corrective actions | Laboratory reviews its current system against ISO 17025. | Review all management and technical processes | Current procedures | >90% perfection should b e achieved |
|  |  |  |  | Documentation |  |
| 2 | Application | Laboratory provides basic, administrative and operating information with comprehensive cross-references to relevant documents. | Laboratory submits Application form | Facilities | High precision required |
|  |  |  |  | Staff |  |
|  |  |  |  | Activities for which accreditation is sought |  |
|  |  |  | Laboratory submits Quality Manual. | Sections 4 and 5 of the QM should/could be structured according to the clauses of the ISO standard 17025:2005 | Templates of QM are commercially available; quality highly variable! |
|  |  |  | Laboratory submits results of proficiency tests and inter-laboratory comparisons. |  |  |
| 3 | Review by the accreditation body | Reviews Application. | Lead assessor evaluates suitability of the laboratory for pre-assessment. |  |  |
|  |  | Reviews Quality Manual. |  |  |  |
| 4.1 | Pre-assessment | Pre-assessment creates better understanding of what the assessment visit will involve; key members of the laboratory staff who are aware of the procedure are available. | Discussion of the precise terms in which accreditation is to be defined. |  |  |
|  |  |  | Review of the quality system and procedures with the management. |  |  |
|  |  |  | Review of the facilities and equipment |  |  |
|  |  |  | Definition of the areas to be addressed by the laboratory to prepare for formal assessment. |  | If more than a certain time span has passed a new pre-assessment may be necessary |
| 4.2 | Formal Assessment | Involves discussions and observations of the laboratory’s systems at work. | Introductory meeting (Management including quality manager and relevant technical management participates on the side of the laboratory) | Assessors and laboratory’s representatives become aquainted. | Discussion should take place in a professional atmosphere. |
|  |  |  |  | Purpose of the assessment and what is expected of the laboratory during the visit is clarified. |  |
|  |  |  |  | Discussion of the scope of testing and the terms in which the accreditation should be defined. |  |
|  |  |  |  | Review of the assessment schedule. |  |
|  |  |  | Examination of laboratory operations (general system and particular areas of work. | Work in progress | Sections heads should be available to accompany assessors and propose corrective actions where required. |
|  |  |  |  | Trace back results of previous reports |  |
|  |  |  |  | Filling out of detailed report form by assessors. Counter signature of head of laboratory |  |
|  |  |  | Closing meeting | Verbal presentation of the findings | Professional talks; questions for clarification and factual corrections of errors may take place here. |
|  |  |  |  | Information on the assessment team’s intended recommendation |  |
|  |  |  |  | Corrective action required and time table for implementation |  |
| 4.3 | Post- assessment procedures | Actions and interactions before the decision of the accreditation body | The laboratory takes all corrective actions. |  | At this stage: no choice but to comply |
|  |  |  | The laboratory reports on corrective actions and includes evidence. |  | Within specified time limits |
|  |  |  | [additional visit] |  | [Only if necessary in cases of significant non-compliance at the time of assessment] |
|  |  |  | If all non-compliance cleared positive, recommendation by assessors to board. |  |  |
|  |  |  | Notification of the board’s decision. |  |  |
| 5 | Surveillance and re-assessment | Monitoring of continued compliance | Regular surveillance and re-assessment visits. | First visit shortly [6 months] after accreditation and annually thereafter |  |
|  |  |  |  | Re-assessment [every 4 years] with new changed assessment team. |  |