Requirements of ISO 17025:2005 in imperative form (“To do list”)

| No | Title | Requirements | Details |
| --- | --- | --- | --- |
| 4 | Management requirements |  |  |
| 4.1 | Organization | Have technical management which has overall responsibility for the technical operations and the provision of the resources needed to ensure the required quality of laboratory operations. |  |
|  |  | Demonstrate impartiality, independence of judgement and integrity in relation to its testing. |  |
|  |  | Demonstrate that managerial and technical personnel have the authority and resources needed to carry out their duties in relation to the quality management system. |  |
|  |  | Have policies and procedures | to ensure the protection of its customers’ confidential information and proprietary rights; |
|  |  |  | including procedures for protecting the electronic storage and transmission of results; |
|  |  |  | to avoid involvement in any activities that would diminish confidence in competence, impartiality, judgement or operational integrity. |
|  |  | Define the organization and management structure of the laboratory, its place in any parent organization, and the relationships between quality management, technical operations and support services. |  |
|  |  | Specify the responsibility, authority and interrelationships of all personnel who manage, perform or verify work affecting the quality of the tests and/or calibrations. |  |
|  |  | Appoint a quality manager with defined responsibility for the qquality management system and direct access to the highest level of management. |  |
|  |  | Appoint deputies for key managerial personnel. |  |
|  |  | Provide adequate supervision of testing and calibration staff. |  |
|  |  | Ensure | that appropriate communication processes are established; |
|  |  |  | that personnel are aware of the relevance and importance of their activities. |
| 4.2 | Management system | Implement and maintain a management system appropriate to the scope of activities |  |
|  |  | Document to the extent necessary to assure the quality of the test and/or calibration results: | policies |
|  |  |  | systems |
|  |  |  | programmes |
|  |  |  | procedures |
|  |  |  | instructions |

| No | Title | Requirements | Details |
| --- | --- | --- | --- |
| 4.2 | Management system (continuation | The system’s documentation shall be …. ….the appropriate personnel | communicated to |
|  |  |  | understood by |
|  |  |  | available to |
|  |  |  | implemented by |
|  |  | Define the laboratory's management system policies related to quality in a quality manual | include or make reference to the supporting procedures including technical procedures. |
|  |  |  | outline the structure of the documentation used in the management system |
|  |  |  | define roles and responsibilities of technical management and the quality manager, including their responsibility for ensuring compliance with this International Standard |
|  |  | Establish the overall objectives and review it during management review |  |
|  |  | ensure the integrity of the management system when changes are planned and implemented |  |
|  |  | Issue a concise quality policy statement under the authority of top management. It shall at least contain: | the laboratory management's commitment to good professional practice and to the quality of its testing and calibration; |
|  |  |  | the management’s statement of the laboratory's standard of service; |
|  |  |  | the purpose of the management system related to quality; |
|  |  |  | a requirement that all personnel familiarize themselves with the quality documentation and implement the policies and procedures in their work; |
|  |  |  | the laboratory management's commitment to comply with this International Standard and to continually improve the effectiveness of the management system; |
|  |  |  | the requirement that tests and/or calibrations shall always be carried out in accordance with stated methods and customers' requirements; |
|  |  | Top management | provide evidence of commitment to the development and implementation of the management system and to continually improving its effectiveness; |
|  |  |  | communicate to the organization the importance of meeting customer requirements as well as statutory and regulatory requirements. |

| No | Title | Requirements | Details |
| --- | --- | --- | --- |
| 4.3 | Document control (for data control see 5.4.7, for record control see 4.13) | Establish and maintain procedures to control all documents that form part of its management system (These may be on various media, whether hard copy or electronic, and they may be digital, analogue, photographic or written) | regulations; |
|  |  |  | standards; |
|  |  |  | other normative documents; |
|  |  |  | test and/or calibration methods; |
|  |  |  | drawings; |
|  |  |  | software; |
|  |  |  | specifications; |
|  |  |  | instructions; |
|  |  |  | manuals; |
|  |  |  | review and approve by authorized personnel and prior to issue all documents issued to personnel; |
|  |  |  | use same procedure for changes; |
|  |  |  | set rules for hand made changes and for changes on computerised documents; |
|  |  |  | uniquely identify documents (date of issue and/or revision, page number and total number of pages, issuing authority(ies); |
|  |  |  | establish and make readily available a master list identifying revision status and distribution; |
|  |  |  | make authorized editions of appropriate documents available at all relevant locations; |
|  |  |  | review documents periodically and revise, where necessary; |
|  |  |  | remove invalid or obsolete documents promptly; |
|  |  |  | mark obsolete documents retained suitably; |
| 4.4 | Review of requests, tenders and contracts | Establish and maintain policies and procedures for the review of requests, tenders and contracts ensuring that | requirements are adequately defined, documented and understood; |
|  |  |  | laboratory has the capability and physical, personnel and information resources to meet the requirements; |
|  |  |  | method selected and is capable of meeting the customers' requirements; |
|  |  |  | differences between request or tender and contract are resolved before any work commences; |
|  |  |  | records of reviews and pertinent discussions with customer are maintained; |
|  |  |  | reviews cover subcontracts; |
|  |  |  | same contract review process is used for amendments; |
|  |  |  | customer is informed of any deviation from the contract; |
| No | Title | Requirements | Details |
| 4.5 | Subcontracting of tests and calibrations | Place subcontracted work with a competent subcontractor complying with ISO 17025:2005 |  |
|  |  | Maintain a register | of all subcontractors; |
|  |  |  | of the evidence of compliance; |
|  |  | Advise the customer and gain hid approval of the arrangement in writing |  |
| 4.6 | Purchasing services and supplies | Have a policy and procedure(s) | for the selection and purchasing of services and supplies; |
|  |  |  | for purchase, reception and storage of reagents and laboratory consumable materials; |
|  |  |  | ensuring that purchased supplies, reagents and consumables are not used until they have been verified as complying with specifications or requirements; |
|  |  |  | that records of actions taken to check compliance are maintained; |
|  |  |  | that documents describing the ordered services and supplies are reviewed and approved for technical content prior to release; |
|  |  |  | that suppliers of critical consumables, supplies and services are evaluated and records of these evaluations and lists those approved are maintained; |
| 4.7 | Service to the customer | Cooperate with customers and in relation to the work performed, provided that the laboratory | in clarifying the customer's request; |
|  |  | Ensure confidentiality to other customers | in monitoring the laboratory’s performance; |
|  |  | Seek feedback from customers |  |
|  |  | Analyse feedback to improve | the management system; |
|  |  |  | testing and calibration activities; |
|  |  |  | customer service; |
| 4.8 | Complaints | Have a policy and procedure | for the resolution of complaints received from customers or other parties; |
|  |  |  | for maintaining records of all complaints and of the investigations and corrective actions taken; |
| 4.9 | Control of nonconforming testing and/or calibration work | Have a policy and procedures that shall be implemented when any aspect or the results of its testing and/or calibration work do not conform to its own procedures or agreed requirements of the customer. The policy and procedures shall ensure that: | responsibilities and authorities for the management of nonconforming work are designated (including halting of work, withholding of test reports, as necessary, and resumption of work); |
|  |  |  | actions are defined and taken; |
|  |  |  | an evaluation of the significance of the nonconforming work is made and the corrective action procedures given in 4.11 are promptly followed if necessary; |
|  |  |  | the customer is notified and work is recalled where necessary. |
| No | Title | Requirements | Details |
| 4.10 | Improvement | Improve the effectiveness of the management system through the use of | quality policy; |
|  |  |  | quality objectives; |
|  |  |  | audit results; |
|  |  |  | analysis of data; |
|  |  |  | corrective actions; |
|  |  |  | preventive actions; |
|  |  |  | management review; |
| 4.11 | Corrective action | Establish a policy and a procedure and designate appropriate authorities for implementing corrective action when nonconforming work or departures from the policies and procedures in the management system or technical operations have been identified. Use the following sequence in the procedure. |  |
| 4.11.1 | General |  |  |
| 4.11.2 | Cause analysis | Start with an investigation to determine the root cause(s) of the problem. |  |
| 4.11.3 | Selection and implementation of corrective actions | Identify potential corrective which | most likely eliminate the problem and prevent recurrence; |
|  |  |  | are appropriate to the magnitude and the risk of the problem. |
|  |  | Document and implement any required changes resulting from corrective action investigations. |  |
| 4.11.4 | Monitoring of corrective actions | Monitor the results to ensure that the corrective actions taken have been effective. |  |
| 4.11.5 | Additional audits | Audit the appropriate areas of activity in accordance with 4.14 as soon as possible where a serious issue or risk to the business has been identified due to nonconformities | with its own policies and procedures; |
|  |  |  | with compliance with this ISO 17025:2005. |
| 4.12 | Preventive action | Identify needed improvements | Technical; |
|  |  |  | concerning the management system. |
|  |  | Develop, implement and monitor action plans. |  |
|  |  | Identify potential sources of nonconformities | Technical; |
|  |  |  | concerning the management system; |
|  |  | Develop, implement and monitor action plans |  |
|  |  | Draft Procedures for preventive actions including initiation and the application of controls to ensure that they are effective. | Base it on review of the operational procedures, analysis of data, trend and risk analyses and proficiency-testing results. |
| 4.13 4.13 | Control of records General | Establish and maintain procedures ….. …..for quality records …..for technical records | identification; |
|  |  |  | collection; |
|  |  |  | indexing; |
|  |  |  | access; |
|  |  |  | filing; |
|  |  |  | storage; |
|  |  |  | maintenance; |
|  |  |  | disposal. |
| No | Title | Requirements | Details |
| 4.13.1 | General (continuation) | Include in the list of quality records | reports from internal audits; |
|  |  |  | management reviews; |
|  |  |  | records of corrective actions; |
|  |  |  | records of preventive actions; |
|  |  | Ensure that all records (in any media, such as hard copy or electronic media) | are legible; |
|  |  |  | are stored and retained in facilities that provide a suitable environment to prevent loss, damage or deterioration; |
|  |  |  | are held secure and in confidence; |
|  |  |  | are readily retrievable; |
|  |  |  | have established retention times. |
|  |  | Have procedures to | protect and back-up records stored electronically; |
|  |  |  | prevent unauthorized access to or amendment of these records. |
| 4.13.2 | Technical records | Retain for a defined period technical records (data and information resulting from carrying out tests and/or calibrations and indicating whether specified quality or process parameters are achieved), such as… | Forms; |
|  |  |  | Contracts; |
|  |  |  | work sheets; |
|  |  |  | check sheets; |
|  |  |  | work notes; |
|  |  |  | control graphs; |
|  |  |  | work books; |
|  |  |  | records of original observations; |
|  |  |  | derived data; |
|  |  |  | sufficient information to establish an audit trail; |
|  |  |  | copy of each (internal and external) test report; |
|  |  |  | calibration records; |
|  |  |  | copy of each calibration certificate issued; |
|  |  |  | staff records; |
|  |  |  | customers' notes, papers and feedback; |
|  |  | Provide sufficient information in test and calibration records to enable | if possible, identification of factors affecting the uncertainty; |
|  |  |  | repetition of tests or calibrations; |
|  |  | Include the identity of personnel responsible for | the sampling; |
|  |  |  | performance of each test; |
|  |  |  | performance of each calibration; |
|  |  |  | checking of results; |
|  |  | Correct mistakes in records by | crossing out (not erasing, making illegible or deleting) and entering the correct value alongside. |
|  |  | Ensure alterations to records are signed or initialled by the person making the correction and equivalent measures are taken for electronically stored records. |  |

| No | Title | Requirements | Details |
| --- | --- | --- | --- |
| 4.14 | Internal audits | Periodically (cycle of one year) conduct internal audits of activities (to verify that operations continue to comply with the requirements of the management system and ISO 17025:2005 | in accordance with a predetermined schedule and procedure; |
|  |  |  | addressing all elements of the management system, including the testing and/or calibration activities; |
|  |  |  | under the responsibility of the quality manager; |
|  |  |  | by trained and qualified personnel who are wherever independent of the activity to be audited; |
|  |  | Take the following actions when audit findings cast doubt on the effectiveness of operations, correctness or validity of test or calibration results | take timely corrective action; |
|  |  |  | notify customers in writing if laboratory results may have been affected; |
|  |  |  | record the area of activity audited, the audit findings and corrective actions that arise from them; |
|  |  |  | verify and record the implementation and effectiveness of the corrective action taken through follow-up audits. |
| 4.15 | Management reviews | Periodically (every 12 months) conduct (by top management) a review of the laboratory's management system and testing and/or calibration activities in accordance with a predetermined schedule and procedure taking account of: | the suitability of policies and procedures |
|  |  |  | reports from managerial and supervisory personnel; |
|  |  |  | the outcome of recent internal audits; |
|  |  |  | corrective and preventive actions; |
|  |  |  | assessments by external bodies; |
|  |  |  | the results of inter-laboratory comparisons or proficiency tests; |
|  |  |  | changes in the volume and type of the work; |
|  |  |  | customer feedback; |
|  |  |  | Complaints; |
|  |  |  | recommendations for improvement; |
|  |  |  | other relevant factors, such as quality control activities, resources and staff training. |
|  |  | Ensure that | findings from management reviews are recorded; |
|  |  |  | arising actions are recorded and carried out within an appropriate and agreed timescale; |
|  |  |  | results (goals, objectives and action plans) are fed into the laboratory planning system for the coming year; |
|  |  |  | management review i related subjects are considered at regular management meetings. |

| No | Title | Requirements | Details |
| --- | --- | --- | --- |
| 5 5.1 | Technical requirements General | Consider and take account of all factors influencing correctness and reliability of the tests and/or calibrations contributing to different extent to the total uncertainty of measurement when developing test and calibration methods and procedures, training and qualifying personnel, and selecting and calibrating equipment. | human factors (see 5.2); |
|  |  |  | accommodation and environmental conditions (see 5.3): |
|  |  |  | test and calibration methods and method validation (see 5.4); |
|  |  |  | equipment (see 5.5); |
|  |  |  | measurement traceability (see 5.6); |
|  |  |  | sampling (see 5.7); |
|  |  |  | handling of test and calibration items (see 5.8). |
| 5.2 | Personnel | Ensure the competence of all who | operate specific equipment; |
|  |  |  | perform tests and/or calibrations; |
|  |  |  | evaluate results; |
|  |  |  | sign test reports and calibration certificates; |
|  |  | Qualify personnel performing specific tasks on the basis of | appropriate education; |
|  |  |  | training; |
|  |  |  | experience; |
|  |  |  | demonstrated skills. |
|  |  | Supervise appropriately staff undergoing training. |  |
|  |  | Ensure that personnel responsible for the opinions and interpretation included in test reports have in addition | relevant knowledge of the manufacturing technology, the intended uses, the defects or degradations likely occurring during service for the items, materials, products, etc. tested; |
|  |  |  | knowledge of the general requirements expressed in the legislation and standards; |
|  |  |  | an understanding of the significance of deviations found with regard to the normal use of the items, materials, products, etc. concerned. |
|  |  | Management formulate the goals with respect to the personnel’s | Education; |
|  |  |  | Training; |
|  |  |  | Skills; |
|  |  | Have a policy and procedures for | identifying training needs relevant to the present and anticipated tasks of the laboratory |
|  |  |  | providing such training to personnel |
|  |  |  | evaluating the effectiveness of the training |
|  |  | Use personnel who are employed by, or under contract to the laboratory. |  |
|  |  | Ensure that contracted and additional technical and key support personnel are used, the laboratory shall ensure that such personnel are supervised and competent and that they work in accordance with the laboratory's management system. |  |

| No | Title | Requirements | Details |
| --- | --- | --- | --- |
| 5.2 | Personnel (continuation) | Maintain current job descriptions, , , , , and with respect to performing), for | managerial personnel; |
|  |  |  | technical personnel; |
|  |  |  | key support personnel involved in tests and/or calibrations; |
|  |  | Define the following as part of job descriptions | responsibilities for: |
|  |  |  | Planning; | tests and/or calibrations |
|  |  |  | Performing; |  |
|  |  |  | Evaluating; |  |
|  |  |  | Reporting; |  |
|  |  |  | Interpreting; |  |
|  |  |  | method modification; |  |
|  |  |  | method development; |  |
|  |  |  | method validation. |  |
|  |  | Authorize specific personnel to | perform particular types of sampling, test and/or calibration; issue test reports and calibration certificates give opinions and interpretations; operate particular types of equipment. |
|  |  | Maintain readily available records of … …for all technical personnel. | the relevant authorization(s) and dates of its confirmation; |
|  |  |  | competence and date of its confirmation; |
|  |  |  | educational and professional qualifications; |
|  |  |  | Training; |
|  |  |  | skills and experience…. |
| 5.3 | Accommodation and environmental conditions | Document the technical requirements for accommodation and environmental conditions that can affect the results of tests and calibrations |  |
|  |  | and ensure that the environmental conditions … …of any measurement correct performance of the tests and/or calibrations | facilitate and do not invalidate the results; |
|  |  |  | do not adversely affect the required quality… |
|  |  | Monitor, control and record environmental conditions as required by the relevant specifications, methods and procedures or where they influence the quality of the results (and stop tests and calibrations when the environmental conditions jeopardize the results of the tests and/or calibration), for example… | biological sterility; |
|  |  |  | Dust; |
|  |  |  | Temperature; |
|  |  |  | etc. |
|  |  | Separate neighbouring areas in which there are incompatible activities to prevent cross-contamination. |  |
|  |  | Control access to and use of areas affecting the quality of the tests and/or calibrations. |  |
|  |  | Ensure good housekeeping in the laboratory. |  |
| No | Title | Requirements | Details |
| 5.4 5.4.1 | Test and calibration methods and method validation General | Use appropriate methods and procedures for all tests and/or calibrations including | Sampling; |
|  |  |  | Handling; |
|  |  |  | Transport; |
|  |  |  | Storage; |
|  |  |  | preparation of items to be tested and/or calibrated; |
|  |  |  | statistical techniques for analysis of test and/or calibration data; |
|  |  |  | estimation of the measurement uncertainty. |
|  |  | Have up to date and readily available instructions (deviation from test and calibration methods shall occur only if the deviation has been documented, technically justified, authorized, and accepted by the customer). | on the use and operation of all relevant equipment; |
|  |  |  | on the handling and preparation of items for testing and/or calibration. |
|  |  | Do not supplement or rewrite international, regional or national standards or other recognized specifications that they can be used as published and contain sufficient and concise information on how to perform the tests and/or calibrations It may be necessary to provide additional documentation for optional steps in the method or additional details. |  |
| 5.4.2 | Selection of methods | Use only test and/or calibration methods, including methods for sampling, which meet the needs of the customer and which are appropriate for the tests and/or calibrations it undertakes. |  |
|  |  | Use preferably methods published in international, regional or national standards or by reputable technical organizations, or in relevant scientific texts or journals, or as specified by the manufacturer of the equipment. | use the latest valid edition of a standard unless it is not appropriate or possible to do so; |
|  |  |  | only when necessary, supplement the standard with additional details ensuring consistent application. |
|  |  | Use laboratory-developed methods or methods adopted by the laboratory only if they are appropriate for the intended use and if they are validated. |  |
|  |  | Use any method only following confirmation that the laboratory can properly operate it and repeat this conformation if the standard/method changes. |  |
|  |  | Inform the customer as to the method chosen. |  |
| 5.4.3 | Laboratory-developed methods | Plan the introduction of test and calibration methods developed by the laboratory for its own use and assign this activity to qualified personnel equipped with adequate resources. Update plans as development proceeds and ensure effective communication amongst all personnel involved. |  |

| No | Title | Requirements | Details |
| --- | --- | --- | --- |
| 5.4.4 | Non-standard methods | Develop procedures for the introduction of validated methods not covered by standards and ensure that the method description contains at least the following information | appropriate identification; |
|  |  |  | Scope; |
|  |  |  | description of the type of item to be tested or calibrated; |
|  |  |  | parameters or quantities and ranges to be determined; |
|  |  |  | apparatus and equipment, including technical performance requirements; |
|  |  |  | reference standards and reference materials required; |
|  |  |  | environmental conditions required and any stabilization period needed; |
|  |  |  | description of the procedure, including | affixing of identification marks, handling, transporting, storing and preparation of items; |
|  |  |  |  | checks to be made before the work is started; |
|  |  |  |  | checks that the equipment is working properly and, where required, calibration and adjustment of the equipment before each use; |
|  |  |  |  | the method of recording the observations and results; |
|  |  |  |  | any safety measures to be observed; |
|  |  |  | criteria and/or requirements for approval/rejection; |
|  |  |  | data to be recorded and method of analysis and presentation; |
|  |  |  | the uncertainty or the procedure for estimating uncertainty. |
| 5.4.5 | Validation of methods | Confirm by examination and provision of objective evidence that the particular requirements for a specific intended use are fulfilled by non-standard methods, laboratory-designed/developed methods, standard methods used outside their intended scope, and amplifications and modifications of standard methods: | validate as extensively as is necessary to meet the needs of the given application or field of application and include sampling, handling and transportation – if relevant; |
|  |  |  | record the procedure used for the validation, the results obtained, and a statement as to whether the method is fit for the intended use. |

| No | Title | Requirements | Details |
| --- | --- | --- | --- |
| 5.4.5 | Validation of methods (continuation) | Use one or a combination of the following techniques for the determination of the performance of a method | calibration using reference standards or reference materials; |
|  |  |  | comparison of results achieved with other methods; |
|  |  |  | Inter-laboratory comparisons |
|  |  |  | systematic assessment of the factors influencing the result; |
|  |  |  | assessment of the uncertainty of the results based on scientific understanding of the theoretical principles of the method and practical experience. |
|  |  | Investigate the influence on method performance of changes later introduced into the validated method or carry out a new validation, if appropriate |  |
|  |  | Verify that the range and accuracy of the values obtainable from validated methods, e.g., …are relevant to the customers' needs. | uncertainty of the results; |
|  |  |  | limit of detection; |
|  |  |  | limit of quantification; |
|  |  |  | selectivity of the method; |
|  |  |  | Linearity; |
|  |  |  | limit of repeatability and/or reproducibility; |
|  |  |  | robustness against external influences; |
|  |  |  | cross-sensitivity against interference from the matrix… |
| 5.4.6 | Estimation of uncertainty of measurement | Establish and apply a procedure to estimate the uncertainty of measurement for all calibrations and types of calibrations. |  |
|  |  | Establish and apply procedures for estimating uncertainty of measurement for test methods (unless a well-recognized test method specifies limits to the values of the major sources of uncertainty of measurement and the form of presentation of calculated results). Take account of sources contributing to the uncertainty, such as the reference standards and reference materials used, methods and equipment used, environmental conditions, properties and condition of the item being tested or calibrated, and the operator: | where possible use rigorous, metrologically and statistically valid, calculation of uncertainty of measurement (degree of rigor mainly depending on limits on which decisions on conformity to a specification are based; |
|  |  |  | in all other cases attempt to identify all components of uncertainty and make a reasonable estimation, to avoid that the form of reporting of the result gives a wrong impression of the uncertainty; |
|  |  |  | base estimation on | knowledge of the performance of the method; |
|  |  |  |  | measurement scope; |
|  |  |  |  | use of, for example, previous experience; |
|  |  |  |  | validation data. |

| No | Title | Requirements | Details |
| --- | --- | --- | --- |
| 5.4.7 | Control of data | Check calculations and data transfers systematically and in an appropriate manner. |  |
|  |  | Ensure in all situations where computers or automated equipment are used for the acquisition, processing, recording, reporting, storage or retrieval of test or calibration data that: | computer software developed by the user is documented in sufficient detail and is suitably validated as being adequate for use; |
|  |  |  | procedures are established and implemented for protecting the integrity and confidentiality of data (e.g., during entry or collection, storage, transmission and processing); |
|  |  |  | computers and automated equipment are maintained to ensure proper functioning and are provided with the environmental and operating conditions necessary to maintain the integrity of test and calibration data; |
|  |  |  | laboratory specific configurations/ modifications of commercial off-the-shelf software (e.g. word-processing, database and statistical programmes) are validated. |
| 5.5 | Equipment | Ensure that … | the laboratory is furnished with all items of sampling, measurement and test equipment required for the correct performance of the tests and/or calibrations (including sampling, preparation of test and/or calibration items, processing and analysis of test and/or calibration data); |
|  |  |  | the requirements of ISO 17025:2005 are met in those cases where the laboratory needs to use equipment outside its permanent control; |
|  |  |  | calibration programmes are established for key quantities or values of the instruments where these properties have a significant effect on the results; |
|  |  |  | equipment (including that used for sampling) is calibrated or checked to establish that it meets the laboratory's specification requirements before it is placed into service and before it is used; |
|  |  | Ensure that … | only authorized personnel operates the equipment; |
|  |  |  | Up-to-date instructions on the use and maintenance of equipment (including any relevant manuals provided by the manufacturer of the equipment) are readily available; |
|  |  |  | Each item of equipment and its software is uniquely identified - where practicable. |

| No | Title | Requirements | Details |
| --- | --- | --- | --- |
| 5.5 | Equipment (continuation) | Maintain records of each item of equipment and its software significant to the tests and/or calibrations performed which contain at least: | the identity of the item of equipment and its software; |
|  |  |  | the manufacturer's name, type identification, and serial number or other unique identification; |
|  |  |  | checks that equipment complies with the specification; |
|  |  |  | the current location, where appropriate |
|  |  |  | the manufacturer's instructions, if available, or reference to their location; |
|  |  |  | dates, results and copies of reports and certificates of all calibrations, adjustments, acceptance criteria, and the due date of next calibration; |
|  |  |  | the maintenance plan, where appropriate, and maintenance carried out to date; |
|  |  |  | any damage, malfunction, modification or repair to the equipment; |
|  |  | Have procedures for safe handling, transport, storage, use and planned maintenance of measuring equipment to ensure proper functioning and in order to prevent contamination or deterioration. |  |
|  |  | Take out of service, isolate or clearly label as being out of service (until it has been repaired and evidently performs correctly) all equipment that has been subjected to overloading or mishandling, or has been shown to be defective or outside specified limits, or gives suspect results. | examine the effect of the defect or departure from specified limits on previous tests and/or calibrations; |
|  |  |  | institute the “Control of nonconforming work” procedure. |
|  |  | Label all equipment under the control of the laboratory and requiring calibration to indicate, including the and the | the status of calibration; |
|  |  |  | date when last calibrated; |
|  |  |  | date or expiration criteria when recalibration is due. |
|  |  | Verify satisfactory function and calibration status when, for whatever reason, equipment goes temporarily outside the direct control of the laboratory, the laboratory. |  |
|  |  | Carry out all necessary intermediate checks of the calibration status of the equipment according to a defined procedure |  |
|  |  | Have procedures to ensure that copies (e.g. in computer software) are correctly updated where calibrations give rise to a set of correction factors. |  |
|  |  | Safeguard all test and calibration equipment including its software from adjustments which would invalidate the test and/or calibration results. |  |

| No | Title | Requirements | Details |
| --- | --- | --- | --- |
| 5.6 5.6.1 | Measurement traceability General | Calibrate all equipment having a significant effect on the accuracy or validity of the result of the test, calibration or sampling used for tests and/or calibrations before putting it into service and have an established programme and procedure for the calibration of this equipment. | Have a system for selecting, using, calibrating, checking, controlling and maintaining measurement standards, reference materials used as measurement standards, and measuring and test equipment used to perform tests and calibrations. |
| 5.6.2 | Specific requirements | Design and operate calibration laboratories and have a programme for calibration of equipment so as to ensure that calibrations and measurements made by the laboratory are traceable to the International System of Units (Système international d'unités, SI). | establish traceability of own measurement standards and measuring instruments to the SI by means of an unbroken chain of calibrations or comparisons linking them to relevant primary standards of the SI units of measurement (may be achieved in several steps carried out by different laboratories that can demonstrate traceability); |
|  |  |  | achieve the link to SI units by reference to national measurement standards (primary or secondary) or |
|  |  |  | use calibration services from laboratories issuing calibration certificates that can demonstrate competence, measurement capability and traceability. In this case ensure that certificates contain the measurement results, including the measurement uncertainty and/or a statement of compliance with an identified metrological specification (see also 5.10.4.2). |
|  |  | Establishing traceability of calibration laboratories to appropriate measurement standards in case of calibrations that currently cannot be strictly made in SI units by . In these cases calibration shall provide confidence in measurements by such as: | use of certified reference materials provided by a competent supplier to give a reliable physical or chemical characterization of a material; |
|  |  |  | use of specified methods and/or consensus standards that are clearly described and agreed by all parties concerned; |
|  |  |  | participation in a suitable programme of interlaboratory comparisons; |
|  |  | Apply the above requirements to measuring and test equipment with measuring functions of testing laboratories depending on the contribution to the total uncertainty of the test result of the calibration. | ensure that the equipment used can provide the uncertainty of measurement needed; |
|  |  |  | if calibration is the dominant factor, the requirements of traceability should be strictly followed; |
|  |  |  | use certified reference materials, agreed methods and/or consensus standards as required for calibration laboratories - where traceability of measurements to SI units is not possible or not relevant. |

| No | Title | Requirements | Details |
| --- | --- | --- | --- |
| 5.6.3 | Reference standards and reference materials | Have a programme and procedure for the calibration of reference standards by a body that can provide traceability. Reference standards shall be calibrated before and after any adjustment. | Use reference standards of measurement for calibration only. |
|  |  | Use reference materials traceable to SI units of measurement, where possible or to certified reference materials and check internal reference materials as far as is technically and economically practicable. |  |
|  |  | Have defined procedures and schedules for intermediate checks needed to maintain confidence in the calibration status of: | reference standards; |
|  |  |  | primary standards; |
|  |  |  | transfer standards; |
|  |  |  | working standards; |
|  |  |  | reference materials; |
|  |  | For reference standards and reference materials have procedures for | safe handling; |
|  |  |  | transport; |
|  |  |  | storage; |
|  |  |  | use. |
| 5.7 | Sampling | Have a sampling plan and procedures for sampling of substances, materials or products for subsequent testing or calibration. | Make the sampling plan as well as the sampling procedure available at the location where sampling is undertaken. |
|  |  |  | Base sampling plansl, whenever reasonable, on appropriate statistical methods. |
|  |  |  | The sampling process shall address the factors to be controlled to ensure the validity of the test and calibration results. |
|  |  | Record in detail with the appropriate sampling data and include in all documents containing test and/or calibration results if the customer requires deviations, additions or exclusions from the documented sampling procedure. Communicated these to the appropriate personnel. |  |
|  |  | Have procedures for recording relevant data and operations relating to sampling that forms part of the testing or calibration that is undertaken. Include in the records: | the sampling procedure used; |
|  |  |  | the identification of the sampler; |
|  |  |  | environmental conditions (if relevant); |
|  |  |  | diagrams or other equivalent means to identify the sampling location as necessary; |
|  |  |  | the statistics the sampling procedures are based upon; |
| 5.8 | Handling of test and calibration items | Have procedures for samples of test and/or calibration items covering: | transportation; |
|  |  |  | receipt; |
|  |  |  | handling; |
|  |  |  | Protection; |
|  |  |  | Storage; |
|  |  |  | retention and/or disposal; |
| No | Title | Requirements | Details |
| 5.8 | Handling of test and calibration items (continuation) | Lay down provisions necessary to protect | the integrity of the test or calibration item; |
|  |  |  | the interests of the laboratory; |
|  |  |  | the interests of the customer. |
|  |  | Have a system for identifying test and/or calibration items throughout the life of the item in the laboratory or upon transfer from the laboratory which excludes confusion of items either physically or when referred to in records or other documents. |  |
|  |  | Record any abnormalities of items or departures from normal or specified conditions, as described in the test or calibration method upon receipt of the test or calibration item. |  |
|  |  | Consult the customer for further instructions before proceeding and record the discussion when there is doubt as to the suitability of an item for test or calibration, or when an item does not conform to the description provided, or the test or calibration required is not specified in sufficient detail. |  |
|  |  | Have procedures and appropriate facilities for avoiding deterioration, loss or damage to the test or calibration item during storage, handling and preparation. | follow handling instructions provided with the item; |
|  |  |  | maintained, monitor and record specified storage and environmental conditions; |
|  |  |  | have arrangements for storage and security for test or calibration item or a portion of an item that is to be held secure; |
|  |  |  | provide a copy of the sampling procedure and information on storage and transport of samples, including information on sampling factors influencing the test or calibration result, to those responsible for taking and transporting the samples; |
| 5.9 | Assuring the quality of test and calibration results | Have quality control procedures for a planned monitoring of the validity of tests and calibrations undertaken | use regularly certified reference materials and/or internal quality control using secondary reference materials; |
|  |  |  | participate in inter-laboratory comparison or proficiency-testing programmes; |
|  |  |  | perform replicate tests or calibrations using the same or different methods; |
|  |  |  | retest or recalibrate retained items; |
|  |  |  | correlate results for different characteristics of an item; |
|  |  |  | record the resulting data in such a way that trends are detectable; |
|  |  |  | apply statistical techniques to the reviewing of the results where practicable; |
|  |  |  | take planned corrective action where quality control data fall outside pre-defined criteria; |
| No | Title | Requirements | Details |
| 5.10 5.10.1 | Reporting the results General | Report accurately, clearly, unambiguously and objectively, and in accordance with any specific instructions in the test or calibration method the results of each test, calibration, or series of tests or calibrations carried out by the laboratory. | Report results in a test report or a calibration certificate issued as hard copy or by electronic data transfer and including all the information requested by the customer and necessary for the interpretation of the test or calibration results and all information required by the method used. |
|  |  |  | Include normally for this purpose the information is required by 5.10.2, and 5.10.3 or 5.10.4 of ISO 17025:2005 (internal reports may be simplified). |
|  |  |  | Have readily available all information listed in 5.10.2 to 5.10.4 including parts not reported to the customer in the laboratory which carried out the tests and/or calibrations. |
| 5.10.2 | Test reports and calibration certificates | Have a format for test reports or calibration certificates that contains at least the following information | title (e.g. “Test Report” or “Calibration Certificate”); |
|  |  |  | name and address of the laboratory, and the location where the tests and/or calibrations were carried out, if different from the address of the laboratory; |
|  |  |  | unique identification of the test report or calibration certificate (such as the serial number); an identification on each page in order to ensure that the page is recognized as a part of the test report or calibration certificate; a clear identification of the end of the test report or calibration certificate; |
|  |  |  | name and address of the customer; |
|  |  |  | identification of the method used; |
|  |  |  | unambiguous identification, description, and the condition of the item(s) tested or calibrated; |
|  |  |  | date of receipt of the test or calibration item(s); |
|  |  |  | reference to the sampling plan and procedures used by the laboratory or other bodies; |
|  |  |  | results with, where appropriate, the units of measurement of the test or calibration; |
|  |  |  | name(s), function(s) and signature(s) of person(s) authorizing the test report or calibration certificate; |
|  |  |  | where relevant, a statement to the effect that the results relate only to the items tested or calibrated. |

| No | Title | Requirements | Details |
| --- | --- | --- | --- |
| 5.10.3 | Test reports | Include the following additional information on test methods in the format for test reports | deviations from, additions to, or exclusions from the test method, and information on specific test conditions; |
|  |  |  | a statement of compliance/non-compliance with requirements and/or specifications; |
|  |  |  | where applicable, a statement on the estimated uncertainty of measurement; |
|  |  |  | where appropriate and needed, opinions and interpretations (see 5.10.5); |
|  |  |  | additional information which may be required by specific methods, customers or groups of customers; |
|  |  | Include the following additional information on sampling – where applicable - in the format for test reports | date of sampling; |
|  |  |  | unambiguous identification of the substance, material or product sampled; |
|  |  |  | the location of sampling, including any diagrams, sketches or photographs; |
|  |  |  | a reference to the sampling plan and procedures used; |
|  |  |  | details of any environmental conditions during sampling that may affect the interpretation of the test results; |
|  |  |  | any standard or other specification for the sampling method or procedure, and deviations, additions to or exclusions from the specification concerned. |
| 5.10.4 | Calibration certificates | Include the following additional information in the format for calibration certificates | the conditions (e.g. environmental) under which the calibrations were made that have an influence on the measurement results; |
|  |  |  | the uncertainty of measurement and/or a statement of compliance with an identified metrological specification or clauses thereof; |
|  |  |  | evidence that the measurements are traceable. |
| 5.10.5 | Opinions and interpretations | Mark clearly opinions and interpretations as such in a test report and document the basis upon which they have been made. Provide the following information | an opinion on the statement of compliance/noncompliance of the results with requirements; |
|  |  |  | fulfilment of contractual requirements; |
|  |  |  | recommendations on how to use the results; |
|  |  |  | guidance for improvements; |
| 5.10.6 | Testing and calibration results obtained from subcontractors | Identify clearly any results of tests performed by subcontractors and use the calibration certificate of the laboratory performing the work. |  |
| 5.10.7 | Electronic transmission of results | Ensure compliance with ISO 17025:2005 in case of electronic transmission of test or calibration results |  |

| No | Title | Requirements | Details |
| --- | --- | --- | --- |
| 5.10.8 | Format of reports and certificates | Design the format to accommodate each type of test or calibration carried out but harmonise the layout and minimize the possibility of misunderstanding or misuse. |  |
| 5.10.9 | Amendments to test reports and calibration certificates | Make material amendments to a test report or calibration certificate after issue only in the form of a further document, or data transfer. | Fulfil all requirements of ISO 17025:2005. |
|  |  |  | Refer to the original document and uniquely identify the new one if a complete new report or certificate is to issued. |
|  |  |  | Include the statement: “Supplement to Test Report [or Calibration Certificate], serial number... [or as otherwise identified]”. |